## Sheet1
Test Cable Resistance (One Way ohms) | 1.2
Air Side Flange Pins on test cable breakout board | Resistance including test cable (ohms) | Actual Resistance after test cable is removed (ohms) | Comment
3,16 | 42 | 39.6 | Upper Heater
3,17 | 41.9 | 39.5 | Upper Heater
3,18 | 41.9 | 39.5 | Upper Heater
3,19 | 41.9 | 39.5 | Upper Heater
4,19 | 42 | 39.6 | Upper Heater
5,19 | 42 | 39.6 | Upper Heater
6,19 | 42 | 39.6 | Upper Heater
1,2 | 6.3 | 3.9 | Roundtrip invac wire resistance
4,5 | 6.3 | 3.9 | Roundtrip invac wire resistance
3,4 | 6.3 | 3.9 | Roundtrip invac wire resistance
14,15 | 6.1 | 3.7 | Roundtrip invac wire resistance
1,14 | OPEN |  | RTD broken
9,22 | 42 | 39.6 | Lower Heater | Average Heater Resistance after cable resistance is subtracted | 35.6446
9,23 | 42 | 39.6 | Lower Heater
9,24 | 42 | 39.6 | Lower Heater | Average resistance of a single wire leading to the ring heater | 1.9562
9,25 | 41.9 | 39.5 | Lower Heater
10,25 | 41.9 | 39.5 | Lower Heater
11,25 | 42 | 39.6 | Lower Heater | Actual resistance of RTD | 108.7875
12,25 | 41.9 | 39.5 | Lower Heater | Temperature in C calculated from platinum RTD coefficient of 0.00392 | 22.4171
7,8 | 6.3 | 3.9 | Roundtrip invac wire resistance
10,11 | 6.4 | 4 | Roundtrip invac wire resistance
9,10 | 6.4 | 4 | Roundtrip invac wire resistance
20,21 | 6.4 | 4 | Roundtrip invac wire resistance
7,20 | 115.1 | 112.7 | RTD is working