## Sheet1
Measurement Date 2016/8/8 LHO |  | Power Meter (mW) |  |  | AS_C QPD (cnt) |  | Ratio (mW/cnt)
Local Time | Location | Reading | Offset | Error | Avg | RMS | Ratio | Error | Fractional Error | Transmission from the HAM6 entrance | Error
11:38 | Before OM1 | 23 | 0.003 | 0.1 | 1388.1 | 1.6 | 0.016567 | 7.452e-05 | 0.004498 | 1.0234 | 0.0046033
11:43 | Before OMC | 21.95 | 0.003 | 0.1 | 1388.7 | 1.6 | 0.015804 | 7.4267e-05 | 0.0046992 | 0.97626 | 0.0045877
Measurement Date 2016/8/8 LHO |  | Power Meter (mW) |  |  | AS_C QPD (cnt) |  | Ratio (mW/cnt)
Local Time | Location | Reading | Offset | Error | Avg | RMS | Ratio | Error | Fractional Error | Transmission from the HAM6 entrance | Error | Expected from Trans | Optical Spec
14:42 | Before OM1 | 22.03 | 0.003 | 0.1 | 1393.3 | 1.2 | 0.015809 | 7.3043e-05 | 0.0046202 | 0.97659 | 0.0045121 | 1
14:46 | Before OM2 | 22.6 | 0.003 | 0.1 | 1397.8 | 1.4 | 0.016166 | 7.3341e-05 | 0.0045367 | 0.99863 | 0.0045305 | 0.99922 | OM1 T=800ppm
14:47 | Before OM3 | 21.9 | 0.003 | 0.1 | 1387.4 | 1.7 | 0.015783 | 7.4617e-05 | 0.0047278 | 0.97495 | 0.0046093 | 0.99844 | OM2 T=800ppm
14:52 | OM3 Trans | 0.363 | 0.002 | 0.001 | 1387.5 | 1.3 | 0.00026018 | 7.5707e-07 | 0.0029098 | 0.016072 | 4.6767e-05 | NA | OM3 T=1% for AOI<20deg
15:01 | OM1 Trans | 0.0215 | 0.004 | 0.0001 | 1385.1 | 1.7 | 1.2634e-05 | 6.0777e-08 | 0.0048104 | 0.00078047 | 3.7544e-06 | NA | OM1 T=800ppm
15:16 | Before OMC | 22.7 | 0.003 | 0.1 | 1389.1 | 2.3 | 0.016339 | 7.6896e-05 | 0.0047062 | 1.0093 | 0.0047501 | 0.98237 | OM3 T=1% for AOI<20deg
HAM6 entering power vs AS_C QPD SUM (mW/cnt)
[13 empty] | 0.016188 | +/- | 0.00048565
(+/-3%)