2016-11-27T10:05:00.03490 INJ_TRANS [WAIT_FOR_NEXT_INJECT.run] Ignoring hardware injection since detector is not locked.
2016-11-27T10:05:00.03719 INJ_TRANS [WAIT_FOR_NEXT_INJECT.run] ezca: H1:CAL-PINJX_TINJ_OUTCOME => -6
2016-11-27T11:45:00.01132 INJ_TRANS [WAIT_FOR_NEXT_INJECT.run] ezca: H1:CAL-PINJX_TINJ_START => 1164282317.01
2016-11-27T11:45:00.01464 INJ_TRANS [WAIT_FOR_NEXT_INJECT.run] ezca: H1:CAL-PINJX_TINJ_OUTCOME => 0
2016-11-27T11:45:00.13322 INJ_TRANS EDGE: WAIT_FOR_NEXT_INJECT->CHECK_SCHEDULE_TIMES
2016-11-27T11:45:00.13366 INJ_TRANS calculating path: CHECK_SCHEDULE_TIMES->INJECT_SUCCESS
2016-11-27T11:45:00.13422 INJ_TRANS new target: CREATE_AWG_STREAM
2016-11-27T11:45:00.13487 INJ_TRANS executing state: CHECK_SCHEDULE_TIMES (35)
2016-11-27T11:45:00.13511 INJ_TRANS [CHECK_SCHEDULE_TIMES.enter]
2016-11-27T11:45:00.13624 INJ_TRANS [CHECK_SCHEDULE_TIMES.main] USERMSG 0: INJECTION IMMINENT: 1164282617.000000
2016-11-27T11:45:00.13625 INJ_TRANS [CHECK_SCHEDULE_TIMES.main] Skipping checking schedule times since its already been done.
2016-11-27T11:45:00.26078 INJ_TRANS EDGE: CHECK_SCHEDULE_TIMES->CREATE_AWG_STREAM
2016-11-27T11:45:00.26119 INJ_TRANS calculating path: CREATE_AWG_STREAM->INJECT_SUCCESS
2016-11-27T11:45:00.26159 INJ_TRANS new target: READ_WAVEFORM
2016-11-27T11:45:00.26201 INJ_TRANS executing state: CREATE_AWG_STREAM (50)
2016-11-27T11:45:00.26217 INJ_TRANS [CREATE_AWG_STREAM.enter]
2016-11-27T11:45:00.26442 INJ_TRANS [CREATE_AWG_STREAM.main] ezca: H1:CAL-PINJX_TINJ_TYPE => 2
2016-11-27T11:45:00.38560 INJ_TRANS EDGE: CREATE_AWG_STREAM->READ_WAVEFORM
2016-11-27T11:45:00.38583 INJ_TRANS calculating path: READ_WAVEFORM->INJECT_SUCCESS
2016-11-27T11:45:00.38612 INJ_TRANS new target: RAMP_GAIN_TO_1
2016-11-27T11:45:00.38653 INJ_TRANS executing state: READ_WAVEFORM (60)
2016-11-27T11:45:00.38668 INJ_TRANS [READ_WAVEFORM.enter]
2016-11-27T11:45:00.38742 INJ_TRANS [READ_WAVEFORM.main] Reading waveform data from /hwinj/Details/config/Burst/Waveform/ER10_LongDuration/ADI-e_20_0.9.txt
2016-11-27T11:45:17.01945 INJ_TRANS EDGE: READ_WAVEFORM->RAMP_GAIN_TO_1
2016-11-27T11:45:17.01982 INJ_TRANS calculating path: RAMP_GAIN_TO_1->INJECT_SUCCESS
2016-11-27T11:45:17.02025 INJ_TRANS new target: AWG_STREAM_OPEN_PREINJECT
2016-11-27T11:45:17.02095 INJ_TRANS executing state: RAMP_GAIN_TO_1 (65)
2016-11-27T11:45:17.02118 INJ_TRANS [RAMP_GAIN_TO_1.enter]
2016-11-27T11:45:17.03071 INJ_TRANS [RAMP_GAIN_TO_1.main] ezca: H1:CAL-PINJX_TRANSIENT_GAIN => 1.0
2016-11-27T11:45:19.29331 INJ_TRANS EDGE: RAMP_GAIN_TO_1->AWG_STREAM_OPEN_PREINJECT
2016-11-27T11:45:19.29371 INJ_TRANS calculating path: AWG_STREAM_OPEN_PREINJECT->INJECT_SUCCESS
2016-11-27T11:45:19.29417 INJ_TRANS new target: INJECT_BURST_ACTIVE
2016-11-27T11:45:19.29492 INJ_TRANS executing state: AWG_STREAM_OPEN_PREINJECT (70)
2016-11-27T11:45:19.29519 INJ_TRANS [AWG_STREAM_OPEN_PREINJECT.enter]
2016-11-27T11:45:19.29604 INJ_TRANS [AWG_STREAM_OPEN_PREINJECT.main] USERMSG 0: INJECTION IMMINENT: 1164282617.000000
2016-11-27T11:49:40.07356 INJ_TRANS JUMP target: INJECT_BURST_ACTIVE
2016-11-27T11:49:40.07359 INJ_TRANS [AWG_STREAM_OPEN_PREINJECT.exit]
2016-11-27T11:49:40.13421 INJ_TRANS JUMP: AWG_STREAM_OPEN_PREINJECT->INJECT_BURST_ACTIVE
2016-11-27T11:49:40.13460 INJ_TRANS calculating path: INJECT_BURST_ACTIVE->INJECT_SUCCESS
2016-11-27T11:49:40.13499 INJ_TRANS new target: RAMP_GAIN_TO_0
2016-11-27T11:49:40.13967 INJ_TRANS executing state: INJECT_BURST_ACTIVE (102)
2016-11-27T11:49:40.13993 INJ_TRANS [INJECT_BURST_ACTIVE.enter]
2016-11-27T11:49:40.14161 INJ_TRANS [INJECT_BURST_ACTIVE.main] USERMSG 0: INJECTION ACTIVE: 1164282617.000000
2016-11-27T11:49:40.50981 Aborting Logging because SIStrLog call failed -1
2016-11-27T11:51:23.47038 INJ_TRANS [INJECT_BURST_ACTIVE.main] GPS start time: 1164282617.000000
2016-11-27T11:51:23.47050 INJ_TRANS [INJECT_BURST_ACTIVE.main] Requested state: INJECT_BURST_ACTIVE
2016-11-27T11:51:23.47061 INJ_TRANS [INJECT_BURST_ACTIVE.main] Requested observation mode: 1
2016-11-27T11:51:23.47071 INJ_TRANS [INJECT_BURST_ACTIVE.main] Scale factor: 1.000000
2016-11-27T11:51:23.47082 INJ_TRANS [INJECT_BURST_ACTIVE.main] Waveform path: /hwinj/Details/config/Burst/Waveform/ER10_LongDuration/ADI-e_20_0.9.txt
2016-11-27T11:51:23.55770 INJ_TRANS EDGE: INJECT_BURST_ACTIVE->RAMP_GAIN_TO_0
2016-11-27T11:51:23.55807 INJ_TRANS calculating path: RAMP_GAIN_TO_0->INJECT_SUCCESS
2016-11-27T11:51:23.55843 INJ_TRANS new target: INJECT_SUCCESS
2016-11-27T11:51:23.55917 INJ_TRANS executing state: RAMP_GAIN_TO_0 (66)
2016-11-27T11:51:23.55943 INJ_TRANS [RAMP_GAIN_TO_0.enter]
2016-11-27T11:51:23.57096 INJ_TRANS [RAMP_GAIN_TO_0.main] ezca: H1:CAL-PINJX_TRANSIENT_GAIN => 0.0
2016-11-27T11:51:25.77715 INJ_TRANS EDGE: RAMP_GAIN_TO_0->INJECT_SUCCESS
2016-11-27T11:51:25.77756 INJ_TRANS calculating path: INJECT_SUCCESS->INJECT_SUCCESS
2016-11-27T11:51:25.77835 INJ_TRANS executing state: INJECT_SUCCESS (200)
2016-11-27T11:51:25.77861 INJ_TRANS [INJECT_SUCCESS.enter]
2016-11-27T11:51:27.82525 INJ_TRANS [INJECT_SUCCESS.main] ezca: H1:CAL-PINJX_TINJ_OUTCOME => 1
2016-11-27T11:51:27.83060 INJ_TRANS [INJECT_SUCCESS.main] ezca: H1:CAL-PINJX_TINJ_ENDED => 1164282704.83
2016-11-27T11:51:27.85169 INJ_TRANS JUMP target: WAIT_FOR_NEXT_INJECT
2016-11-27T11:51:27.85196 INJ_TRANS [INJECT_SUCCESS.exit]
2016-11-27T11:51:27.91624 INJ_TRANS JUMP: INJECT_SUCCESS->WAIT_FOR_NEXT_INJECT
2016-11-27T11:51:27.91667 INJ_TRANS calculating path: WAIT_FOR_NEXT_INJECT->INJECT_SUCCESS
2016-11-27T11:51:27.91724 INJ_TRANS new target: CHECK_SCHEDULE_TIMES
2016-11-27T11:51:27.91803 INJ_TRANS executing state: WAIT_FOR_NEXT_INJECT (20)
2016-11-27T11:51:27.91829 INJ_TRANS [WAIT_FOR_NEXT_INJECT.enter]
2016-11-27T12:03:50.13876 INJ_TRANS JUMP target: EXTTRIG_ALERT_ACTIVE
2016-11-27T12:03:50.13903 INJ_TRANS [WAIT_FOR_NEXT_INJECT.exit]
2016-11-27T12:03:50.20063 INJ_TRANS JUMP: WAIT_FOR_NEXT_INJECT->EXTTRIG_ALERT_ACTIVE
2016-11-27T12:03:50.20084 INJ_TRANS calculating path: EXTTRIG_ALERT_ACTIVE->INJECT_SUCCESS
2016-11-27T12:03:50.20122 INJ_TRANS new target: WAIT_FOR_NEXT_INJECT
2016-11-27T12:03:50.20189 INJ_TRANS executing state: EXTTRIG_ALERT_ACTIVE (30)
2016-11-27T12:03:50.20213 INJ_TRANS [EXTTRIG_ALERT_ACTIVE.enter]
2016-11-27T12:50:52.78724 INJ_TRANS EDGE: EXTTRIG_ALERT_ACTIVE->WAIT_FOR_NEXT_INJECT
2016-11-27T12:50:52.78755 INJ_TRANS calculating path: WAIT_FOR_NEXT_INJECT->INJECT_SUCCESS
2016-11-27T12:50:52.78810 INJ_TRANS new target: CHECK_SCHEDULE_TIMES
2016-11-27T12:50:52.78881 INJ_TRANS executing state: WAIT_FOR_NEXT_INJECT (20)
2016-11-27T12:50:52.78915 INJ_TRANS [WAIT_FOR_NEXT_INJECT.enter]