## Sheet1
Stuart's AOSEM sensitivity measurements from LHO aLOG 3056 scaled to OL values
| OL (V) | resp. (V/m) | resp. (OL/m)
Unit 1 | 14.75 | 18784 | 1273.4915
Unit 2 | 10.14 | 13028 | 1284.8126
Unit 3 | 12.19 | 15721 | 1289.6637
stdev/mean | 0.18687 | 0.18177 | 0.0064701
| large! | large! | small!
The scatter in net responsivity is dominated by a term proportional to OL.
Therefore the number it makes sense to report is the average of
responsivities after scaling each to a standard OL value of 30000 ct,
as normally done anyway in the OSEMINF block of the quad MEDM screen.
resp. (ct/m) after
scaling to 30000 ct OL
38204745.7627
38544378.6982
38689909.7621
stdev/mean | 0.0064701
small!
| 38479678.0743 | m/ct@30000
| 2.5988e-08 | ct/m@30000
Even though these data have low scatter, they still have the issue that
they were taken with the wrong flag, and so should not be taken as final.